ARTIFACT DETECTION

1. QC DKI Images

- See relative differences in brightness below.

| b-value | Example |
| --- | --- |
| 0 |  |
| 1000 |  |
| 2000 |  |

- Check for artifacts:

  - Motion Signal Dropout

    - threshold 0-250

    - NOTATION: x – if no drops, list slice(s) where there are drops

  - Ghosting Artifact

    - reset threshold 0-100 (go through all volumes)

    - NOTATION: grade level as x-none, 1-minor, 2-moderate, 3-major

Examples: Left (3-major), Right (x-none)

Example: x-none

Example: 1-minor